Bharat Dynamics Limited



(A Government of India Enterprise)

Kanchanbagh-500 058, Hyderabad. (A.P.) – INDIA                                                                               



TENDER DOCUMENT

 BDL \ D&E\ 01 \ 2007




                            Date:   31-AUG-2007

TENDER REFERENCE NO: BDL/D&E/IMM/ CATH/01/2007-08

TENDER SERIAL NO.: CATH/01/07
  

TITLE:     1.COMBINED ALTITUDE TEMPARATURE & HUMIDITY TEST CHAMBER

QUANTITY REQUIRED:  ONE  

DATA & TIME FOR DOWN LOADING OF TENDER DOCUMENTS: 20 SEP 2007

LAST DATE & TIME FOR RECEIPT OF QUOTATIONS: 19 OCT 2007 AT 
16.00 Hrs

TECHNICAL BIDS OPENING DATE & TIME: 22 OCT 2007 from 10.00 Hrs. onwards

NOTE: This Tender Document consists of 18 Pages in total.


● The tenders are invited from the Indian & foreign suppliers.

● PSUs, Small Scale industries registered with National Small industries Corporation / and any other category of supplier notified by Government of India are exempted from the Tender fees / EMD / SD to the extent of their eligibility limits specified in their registered documents.

● WEB SITE & E-MAIL


Our website address:




http://bdl.ap.nic.in

Our e-mail address:




bdlitd@ap.nic.in
1) The subject tender is for the supply of the following item as per the specifications placed at ANNEXURE-‘A’

2) The tenderers should submit the quotation as per the instructions placed at ANNEXURE-‘B’ & in addition to the following conditions: 

2A) TWO BID SYSTEM:

I. Quotation must be submitted in two-bid system in sealed covers i.e

a) Tender fee & EMD separately

b) Technical Bid separately and

c) Price cum commercial bid separately,.

All the above three sealed covers should be kept simultaneously in one sealed cover. All sealed covers should be subscribed clearly with:

1. Reference No. on the Tender advertisement & date.

2. Tender Serial No. & Title of the item

3. Closing date of the Tender 

4. Tender fee & EMD, Technical Bid or Commercial bid as the case may be.

II. The Technical bid shall contain the following details as applicable.

1. Full & complete technical specifications.

2. Conformance & deviation statement with remarks in comparison with tendered       specification.

3. Delivery period

4. QA Plan / Test certificates

III. Technical bid shall not contain any reference to price.

IV. The commercial bid shall indicate the price & other commercial terms such as taxes, duties, payment terms, VAT etc.

V. The Quotation amongst other things should contain the following:

1.  List of all accessories, recommended spares for 2 years maintenance & their individual prices.

2.  Illustrated detailed specification & manual for equipment and accessories.

3.  List of customers to whom similar equipment has been supplied in the past in India along with Xerox copies of orders executed during the last 3 years.

4.  Test charts regarding accuracy.

5.  Details regarding capacity, operational advantages.

6.  Willingness to furnish performance bank guarantee from a scheduled bank (Minimum period of 12 months and a claim period of 3 months)

7. VI. Tenders should give the price breakup & other information such as total price, FCA Airport / Seaport price Taxes & duties applicable.

VII. Quotation/Tender should be addressed only to Senior Manager, General Administration Department, Bharat Dynamics Limited, , KANCHANBAGH, HYDRABAD-500058, A.P, INDIA: Phone No. 0091-040-24340081.

2B) 
TENDER FEE: 

  For indigenous suppliers Rs. 5000

  For foreign suppliers USD 500


The TENDER FEE shall be paid by way of A/C payee Crossed Demand Draft / Pay order only from a scheduled Bank payable in India.

In case of quotation by foreign suppliers the tender fee shall be paid in US DOLLARS only.

2C) 
EARNEST MONEY DEPOSIT (EMD):


- Amount of EMD:

  For indigenous suppliers Rs 300000 (Three lakhs)

  For foreign suppliers USD 7318

· The EMD shall be paid by way of A/C payee Crossed Demand Draft / Pay order only from a scheduled Bank payable in India. It is to be noted that the EMD shall form part of the technical bid only. No other form such as BG / Corporate Guarantee / Indemnity Bond /cheque is acceptable.

· Also refer clause 6 of ANNEXURE-B

2D) 
SECURITY DEPOSIT (SD):


The successful tenderer will have to deposit immediately on acceptance of tender, towards security deposit by Demand Draft/Pay Order / Bank Guarantee from scheduled bank for 10% value of the order.

Where the successful tenderer refuses / unable to furnish the security deposit within the time specified, he not only looses the order but also the EMD shall be forfeited. The EMD to the successful tenderer shall be refunded only after the security deposit is furnished / adjusted against SD where required. 

3) Any purchase order arising out of this tender will be governed by the following.



For indigenous Purchase Orders: 

a) “General terms & conditions of the purchase order (P.O) indigenous” placed at ANNEXURE –C, and

b) Special Terms & Conditions that will be incorporated in the P.O as applicable.

For Foreign / Import Purchase Orders:

c) “General terms & conditions of the purchase order (P.O) Imports” placed at ANNEXURE –D, and

d) Special Terms & Conditions that will be incorporated in the P.O as applicable.

4) ERECTION & COMMISSIONING:

Erection & commissioning of the equipment to be undertaken by the supplier at BDL free of charge.

5) PRE INSPECTION: BDL reserves the right to depute its Engineers to the works of the          manufacturers for undertaking pre dispatch inspection of the equipment before shipment.

6) TRAINING: Wherever felt necessary Engineers from BDL will be deputed to the manufacturers works for training.

7) WARRANTY: The supplier shall furnish warranty for period of 18 months from the date of shipment or 12 months from the date of commissioning of the equipment which ever is later. The machine to be supplied (in the event of an order ) shall be free from all defects & faults in materials, workmanship & manufacture and shall be in full conformity with the specifications. If any defects or mal performance occur during the guarantee period the vendor shall take all necessary alterations, repairs, replacements free of charge at our site. In case of defective machine / parts which need to be re-exported for repairs to the manufacturers works, To & FrO freight & insurance charges have to be borne by the suppliers.

8) NET WEIGHT & GROSS WIGHT: Please indicate the approximate net weight & gross Weight of the equipment to enable us to determine the mode of the dispatch.

9) LICENCES: 
The tenderers should clearly confirm in the their technical bid on their ability to execute the contract / order if awarded to them without expecting any assistance / documents from BDL in obtaining the Export License. (No end user certificate will be issued)

Denial of export license / rejection of export licence application submitted by the tenderer shall not be considered under force majeure clause. In such case the security deposit submitted by the tenderer shall be forfeited.

10) PERFORMANCE BANK GUARANTEE: In case of finalisation of order, you shall furnish a performance bank guarantee for 10% of the order value, valid till end of warranty period plus 3 months claim period.

ENCLOSURES: 

1. ANNEXURE-A 

2. ANNEXURE-B 

3. ANNEXURE-C 

4. ANNEXURE-D 

 




ANNEXURE – A

	TECHNICAL SPECIFICATION FOR TEMPERATURE, HUMIDITY & ALTITUDE TEST CHAMBER  WITH SEPARATE VACUUM CHAMBER


	Sl No
	PARAMETERS
	SPECIFICATION

	1
	
	Multipurpose Climatic Test chamber for Testing 

a) Altitude

b) Low Temperature & Low Pressure

c) Combined Altitude, Temperature and Humidity  (CATH)

d) Thermal Cycle with Higher Rate of change of                          Temperature (ESS Test)

e) Damp Heat / Humidity Test 

f) High Temperature and Low Temperature Tests   



	2


	Exterior dimensions of Main Chamber

Internal dimensions of Main Chamber

External dimensions of Vacuum Chamber

Internal dimensions of Vacuum Chamber
	H=2.00m, W=1.40m, D=3.20m (Approx)

H=0.90m, W=1.10m, D=1.32m (Approx)

To suit Internal dimensions of main chamber

H=0.80 m, W=0.85m, D=1.15 m (Approx)



	3
	Vacuum Chamber Details:

Material

Moving arrangement

Trolley with rails/ slot

Vacuum pump
	-Stainless steel

- Small wheels/ balls to be provided for easy movement 

- Suitable trolley for shifting in to Main climatic chamber and to keep the Vacuum chamber when it is not in use 

- Suitable capacity



	4

        
	Temperature Range

Temperature control accuracy
Temperature fluctuation 

Cooling down Rate of temperature 

With out Vacuum Chamber

Heating up Rate of Temperature 

With out Vacuum Chamber


	-70ºC to +180 ºC  

±1.0°C

Less than 0. 8°C in time & less than 2 °C in spatial 

Up to 14°C / minute on average as per IEC 60068-3-5

Up to 15°C / minute on average as per IEC 60068-3-5



	5


	Humidity Range

Humidity fluctuation
Condensation free humidity control 

Dew point Temperature

Temperature Range with climate

Temperature fluctuation with climate


	95% down to 10%

± 1 to ±3% RH

By Psychometric dry & wet bulb Sensor technology

-3°C to +94°C

+10ºC to +95 ºC

Less than 0.5°C in time and less than 1°C in spatial



	6
	Altitude Range

Evacuation Time

Altitude Resolution 

Altitude Accuracy 

Temperature Range with Altitude

Cooling /Heating Rate of Temperature 

in Vacuum Chamber 


	Ambient to 1m bar or better

  Within 30 to 40 minutes to attain to 1 m bar Pressure

1m bar or better

5% of set value from 1 to 100 m bar , 1%  for > 100 m bar 

-70ºC to +90 ºC

2 to 4°C / minute on an average from +75°C to –45 °C  

	7
	Power supply


	415 V AC ( 10%, 3-phase, 50 Hz

	8


	Housing
	Housing should be self-supporting, made of corrosion resistant and primed with electro static powder coating. The external surface should have high wear resistance.



	9
	Test Space
	· Should be made of NON-Magnetic stainless steel .It should be vapor tight, stainless welded. 

· All seams should be properly welded

      Available with a clear space



	10
	Insulation
	· The insulation material shall be of low ‘K factor, high density and non-hygroscopic nature. 

· The insulation shall be multi layered    with double vapor barrier.

      Asbestos free mineral fiber insulation or Puff       insulation.



	11
	Door


	· Lockable with Robust Hinges on the left hand side (While operator facing the chamber).

· The inner surface of the door shall be provided with pre-polished stainless steel.

· Double continuous seal rings of silicon rubber material shall be provided as the gasket to ensure complete sealing

· The door shall be provided with a micro switch to have an interlock between the conditioning fan and the door opening



	12
	Inspection Window
	The Chamber shall be provided with a vapor tight multi pane toughened glass inspection window.



	13
	Illumination / Lighting of Test Space.
	        The chamber shall be provided with a light and

        a Switch to illuminate the test space during the   

        test to help visual inspection.



	14


	Test space conditioning
	       The air circulation within the chamber shall be close

        to laminar insuring uniform air flow all across work 

        space.   

 

	15
	Refrigeration System


	       High capacity ultra low temperature semi-hermetic

       compressor

· Cascade refrigeration with eco-friendly non-CFC refrigerant ( R23, R404A ).

· The cooling coil will be finned copper tubes.

· The refrigeration system shall be fitted with electrical over loads/safety cut outs.

The compressor shall be on anti vibration mounts (acoustic isolation) for safe efficient long running.



	16
	Water Cooling System
	· A suitable indoor chiller plant should be provided

(The scope of supply should include the cost

 of chiller  plant separately ) 

	17
	Heating of test space.
	· The heaters shall be placed in the chamber such that there is no direct radiation of heat from the heaters on to the test specimen. 

· The stainless sheathed air heaters of standard make suitable capacity shall be used to achieve the desired positive set temperature.

	18
	Dehumidification
	· The desired level of lower humidity shall be achieved using the refrigeration based de humidification system.

· Provision for protection against condensation 



	19
	Humidification 
	· Condensation free humidity to be provided

A Suitable pump with de-mineralized water Reservoir shall be provided 



	20


	Instrumentation & Control.


	· High functional dual loop programmers LCD monitor.

· All configuration and monitoring shall be done by using a colour touch screen on graphic display.

· Sensing through a platinum resistance RTD PT100 or equivalent. 

 Display of set value and actual value of               temperatures.

· 100 programs with a maximum of 1000 segments nested in 250 loops. 

· Program cycles maximum 9999

·  Programs shall be easily stored and recalled at any time and activated without the necessity of operator having prior programming knowledge.

 Built-in capabilities with an option to restart, break      or cold start the test chamber after power failure.



	21


	Software Communication


	      RS-232 and RS485 interface for bi-directional 

Communication with a standard Windows VISTA 

Based PC

Diagnostic history can be retrieved and printed 

Ethernet port for remote access using standard Windows based system through the Internet explorer 

(static IP to be provided ).

	22
	Instruction/service manual
	· Installation Manual/ document

· Two sets of instruction and Service /Maintenance manuals in English.

· Hard copy, Soft copy.

      Complete drawings including refrigeration and   

      electrical should  be provided at the time of  

      delivery.

	23
	Provisions
	· 2 Nos (One on Right Side and another on Left Side of the Chamber) Standard 100mm to 125mm diameter entry port to access cable with a silicon plug 

· Flanged port 50 mm diameter (Approx) with low thermal conductivity material on the inside wall for measurement

· One Terminal black (5x5 terminals) of 16 Amps Capacity to be provided.

· Provision of one adjustable tray with one stainless steel mesh 

· Standard industrial 3-phase plug and socket.

      3 meters PC cable shall be supplied



	24


	Dedicated Computer 


	Configurations:

· CPU: Pentium-4, 3.66 GHz, Dual-core

· RAM: 1 GB DDR SD RAM expandable up to 4GB

· HDD: 160 GB or better

· DVD Writer

· FDD: 1.44MB

· Monitor: 19” Flat TFT

· Key Board: Multi Media

· Mouse: Optical

· Operating system: Microsoft Windows Xp

       Professional with OEM Pack

· 2 Serial ports, 1 Parallel port 

· USB ports:  6 nos

· Laser jet printer 

· UPS 600 VA

	25
	Safety & Protection devices


	· Fault Diagnostics system with history.

· Complete or circuit relevant protection based on fault with audio-visual alarm.

· Independent temperature protection for test specimen 

· (T max & T min).

· Software temperature limiter for min./max test chamber temperature

· Protection for excess pressure in refrigeration circuit.

· Automatic oil return for safety of compressor.

· Bypass protection at No-Load conditions.

· Earth Leakage protection at input.

· Protection for overloaded motor of test space fan and compressors (Thermal Overload Relay).

· The control and monitoring system will be protected against input electrical surge and spike

      Earth point

	26
	Extra Features 
	Supplier shall specify extra features if they can offer  



	27
	Inspection. 
	Pre Dispatch inspection at the supplier’s site (works)



	28
	Dispatch 


	The item to be dispatched after incorporating the changes,

if any, suggested during the Inspection by the inspection team 

	29
	Training.
	Free training for TWO Engineers at suppliers premises at least for 6 working days on operation and maintenance of climatic chamber 

	30
	Installation.
	Free of cost installation and commissioning at BDL.

	31
	Full demonstration on commissioning

 Training on the climatic chamber
	Full demonstration on the functioning & operation. Training to personnel on operation & Maintenance of the climatic chamber.



	32
	Maintenance.
	* Free maintenance during Warrantee period, which includes service and supply of spare parts.

· Supplier to enter for AMC after the warrantee period 



	33
	Free supply of accessories 
	Accessories, Lubricants, sealants or any consumable items required for a period of 2 years maintenance 



	34
	Spares 
	Spares such as expansion valves, solenoide valves, fuses,

Relays and contactors etc for five years maintenance to be supplied 

	35
	Tools 
	Maintenance tool kit to be supplied 



	36
	Test report with performance curves
	Should supply Test report with performance curves

a) Humidity Vs Temperature curve

b) Humidity due point curve

c) Heating & Cooling curve

d) Heat load curve



	37
	 Users/ Customers in India
	List of prime users of Altitude Test chambers in India and performance reports from users to   be provided



	38
	Warrantee
	Minimum warrantee two years after installation and commissioning



	39
	Service support 
	Service support & availability of spares for at least up to 20 years 



	40
	Calibration
	A valid calibration certificate for the chamber, transducers and display from an ISO Accredited Lab to be provided 

	41
	Chamber should work 
	     At room temperature ranging: +10°C to +50°C, 

     and  RH=20% to 90%



	42
	Technical catalogues 
	      Suppliers may send detailed technical catalogues / 

      Literatures along with the quotation 



	43
	Separate Bids 


	      Party should quote Technical Bid and commercial   Bid separately. 




ANNEXURE-‘B’
COMMON INSTRUCTIONS APPLCABLE TO BOTH INDIGENOUS & FOREIGN OFFERS

1. (a) Quotation/ Tender should invariably ADDRESSED TO SENIOR MANAGER, GENERAL ADMINISRATION DEPARTMENT, BHARAT DYNAMICS LIMITED, KANCHANBAGH, HYDERABAD-500 058 TEL.NO. 24340081 only & not to any other Division / Department / person. Quotation / tender addressed to other than the specified addressee shall summarily be REJECTED without any correspondence.

(b) If you intend to submit your offer personally in BDL, YOU CAN HAND OVER THE SEALED COVER IN GENERAL ADMINISTRATION DEPARTMENT DULY obtaining the acknowledgement for the receipt of sealed cover.

c) Quotation/ tender must be submitted IN DUPLICATE in sealed cover super scribing the complete Enquiry No. & Due Date. Failure to comply entails rejection of Quotation. Please indicate your Vendor Registration No., if assigned by BDL in your Quotation.

d) Quotation/ Tender received up to 3.30 PM on due Date will only be considered as valid.

2. Quotation must be firm & hold good for 90 (ninety) days from the closing date of enquiry.

3. If you are not quoting for any or all items on this enquiry, please reply stating as “REGRET’ NOT QUOTING, ETC.,’

4. BDL is not responsible for any delay in receipt or for non-receipt of quotation for whatever reason. Late quotation will be summarily rejected.

5. Where specified, EMD by way of demand draft shall be submitted by you along with the quotations. This will be adjusted as security deposit in case of order arising out of your quotations. For unsuccessful tender the amount shall be refunded after finalisation of the tender. Quotations / Technical bids received without EMD and other than Demand draft will be summarily rejected & no correspondence will be entertained. 

6. Where called for, Quotations must be submitted in two bid systems i.e. technical bid separately & price cum commercial bid separately but simultaneously in sealed envelopes super scribing boldly Enquiry No., Due Date, Technical Bid & Commercial Bid.

7. Where counter terms & conditions of business have been offered, BDL shall not be deemed to be bound by these unless specific acceptance thereof has been given by BDL.

8. The delivery of the stores is required as indicated. Please confirm the dates indicated, otherwise specify clearly, the date by which you can deliver.

9. BDL is not bound to accept any quotation & reserves the right of accepting the whole or any part of quotation or part of quantity offered.

10. In the case of capital goods like Machinery Equipment, sub-systems etc., you have to submit a performance Bank Guarantee for 10% value of the order, if placed, to cover the warranty period or a period of 18 months from the date dispatch or 12 months from the date of commissioning which ever is later, plus a claim period of 3 months.

11. If price negotiations are considered necessary, the same will be held with the lowest acceptance tenderer only . However, technical clarification, if any, can always be sought before submission of quotation. Hence, you are requested to quote your most competitive prices with full details / brouchers / Leaflets etc. for the items quoted.

12. All the drawings downloaded through tender document, should be submitted along with the quotation and should not be circulated to others. Wherever fabricated items to our Drawings are supplied with your raw material you have to furnish test specimens / test certificates with each batch of suppliers.

13. Wherever called for MIL / BIS or other relevant test certificate shall be furnished with the supplies & this shall be confirmed in the quotation, without which the quotation will be rejected.

14. BDL at its option may prescribe pre-qualification at your works (Stage wise / finished) by BDL inspectors / 3rd party agencies / DGQA representatives.

15. All goods or services supplied must conform to the BIS or such other standards quoted in the order & / or be strictly in accordance with approved samples or drawing. Where there is no specifications, sample or drawing, goods and services are to be the best of their kinds.

16. Wherever required, samples should be supplied at your cost with due identification & indicating our reference.

17. The time of delivery is the essence. Supply should be completed within stipulated delivery period. In the event the supplier fails to deliver the goods within the stipulated delivery period, BDL reserves the right to recover from the contractor, as agreed liquidated demurrages & not be away of penalty, a sum of 0.5% of the price only of the stores (excluding duties, taxes, packing & forwarding charges) which the contractor has failed to deliver as aforesaid for each week or part thereof subject to a maximum of 10% during the delivery of such stores may be in arrears.

II. SPECIFIC INSTRUCTIONS FOR INDIGENOUS OFFERS

1. Please quote for free delivery at BDL stores. / FOR destination.

2. In case you have entered into RC with DGS&D, please quote the RC reference & also send us a copy of RC along with your quotation.

3. BDL’s normal terms of payment are “90 % payment within 30 days after receipt & acceptance of the goods and balance 10% against submission of performance bank guarantee for 10% value of order covering 12 months from the date of commissioning plus 3 months claim period” and preference will be given for the same.
4. Please furnish your ECC No., State & Central Sales Taxes Registration Nos., PAN No, VAT No., etc., on your quotation.
5. If you are a small-scale unit, please indicate your registration No.& Date and registration with NSIC (a copy of same certificate to be enclosed with quotation)
III. SPECIFIC INSTRUCTIONS FOR IMPORT OFFERS

1. Price quoted shall be for FOB nearest sea / airport including packing & forwarding charges.

2. Other standard terms such as delivery period, terms of payment etc are to be included.

3. The quotation shall be in ENGLISH language only. The quotation shall be submitted in duplicate along with all the necessary catalogues and leaflets (also in duplicate). The reference of this enquiry shall be super scribed on top of the envelope with the DUE DATE.

4. Where the prices indicated are EX-your works, please indicate separately the packing & forwarding charges for FCA delivery to the nearest gateway Airport / FOB delivery to the nearest seaport. All the consignments either by Sea /Air shall be dispatched on freight to pay basis only

5. You shall arrange the necessary export license for the items. End user certificate will be issued by BDL, if required.

6. You have to furnish a declaration confirming that you have no agent / representative in India.

ANNEXURE – ‘C’ 

GENERAL TERMS AND CONDITIONS OF THE PURCHASE ORDER (P.O)

(INDIGENOUS)

1.ACKNOWLEDGEMENT:

a) An acknowledgement of this purchase order should be sent to us by the supplier confirming their agreement regarding specifications, QT/AT, quantity, prices, terms of payment and Delivery schedule including the General terms and conditions of P.O as indicated in our purchase order within 15 days of its receipt by the supplier.

b) The purchase order No. and Date should always be quoted in all correspondence, delivery challans, packing notes, invoices etc., All communications should be addressed to the officer of BDL who signed the purchase order.

2) PRICES: The prices indicated in our purchase order are firm and not subject to alternation / variation on any account unless specified other wise in the purchase order.

3) QUALITY:  All goods or services supplied must confirm to the BIS or such other standards quoted in the order and /or be strictly in accordance with approved samples or drawings.

Where there are no specifications, sample or drawing, goods and services are to be the best of their kind

4) SUPPLYING OF SAMPLES:  Wherever required, samples should be supplied at your cost with due identification and indicating our references / P.O. number.

5) INSPECTION:

a) All goods services are subject to our inspection and where stipulated our client’s inspection or as nominated either at your works or after delivery.  The decision of our officers of material management of any of the officers nominated / authorized by them is final.

b) The rejected material will lie in our factory premises at the risk and cost of the supplier, pending receipt of disposal instruction from him.

c) If so desired by the supplier, the rejected materials, for which no payment made by us may be packed and returned to the supplier for arranging replacement/rectification on ‘freight to pay’ basis at his cost and risk and the dispatch documents will be forwarded to the supplier directly by our IMM / Stores to enable him to arrange insurance and  take delivery of the same.

Whenever payment already made by us to the supplier, the rejected material will be returned to the Supplier against refund of the amount already paid by us.

d) The packing, freight charges etc., on replacement of returned materials shall be borne by the 

     supplier irrespective of the terms in the purchase order, since such charges were already 

     incurred and borne by us on the original consignment, which got rejected and returned to the 

     supplier. In case the rejected materials are not required to be replaced, freight insurance charges 

     etc., incurred by us on the original consignment  shall be recovered form the supplier’s bills.

e) In case, no disposal instructions received from the supplier, regarding rejected 

    stores, as contemplation at (b) above, or where the amount due from the supplier, 

    cannot be recovered from the  pending  supplier, cannot be recovered from the 

    pending Bills fully, as contemplated at para 17 hereinafter, within 3 months, from 

    the date of intimation to the supplier, regarding disposal action, BDL reserves the 

    right to dispose the rejected stores, in the manner BDL deems it fit, under the 

    given  circumstances and appropriate the amount so recovered, along with cost of  

     disposal After this, if any balance amount is receivable/refundable, the same will  

    be recovered from/refunded to the supplier.

6) PACKING: Materials should be securely packed by the supplier and a copy of packing note 

     should be place just below the lid of the package.  In case one consolidated packing note is 

     prepared for materials packed in more than one package, copies of same should be placed on all 

     packages with a tick mark against the items packed in that particular package.  The package 

     should bear sender’s and ours full name and address on one side and our purchase order No., 

     case markings, gross weight etc., on the other side.

7) DISPATCH OF GOODS:  Wherever terms of dispatch are ex-works / FOR dispatch station. 

     The stores shall be booked through our authorized transported named in the P.O. on freight to 

     pay basis.  The dispatch documents shall be clean and clear.

8) CONSEQUENCE OF BREACH AND RECOVERY OF L.D:  the time of delivery is the   

     essence of P.O supply should be completed within stipulated within stipulated delivery   period.  

     In the event the supplier  fails  to deliver the goods, within the stipulated delivery period, BDL 

     reserves the right to recover from the contractor, as agreed liquidated damages and not by way 

     of penalty, a some of 0.5% of the price only of the stores (excluding duties, taxes, packing & 

     forwarding changes)  which the contractor has failed to deliver as aforesaid for each week or 

     part thereof subject to a maximum of 10% during which the delivery of such stores may be in 

     arrears.

9) RISK PURCHASE CLAUSE: In the event the supplier fails to fulfil the P.O obligations,  

    BDL reserves the right

   a)To purchase elsewhere without notice to the contractor, on account and at the risk of the    

       contractor, the stores not delivered or other of similar description (Which in the opinion of 

       BDL shall be readily procurable) without canceling the P.O in respect of consignment not yet 

       due for delivery.

                       ( OR)

b)To cancel the P.O. in the event action being taken as above the supplier shall be liable for any loss which BDL may sustain on that account by the supplier shall not be entitled to any gain on repurchase made against default.

    10)  CANCELLATION OF P.O:  Non compliance with any  of  the  conditions may compel the 

       Purchaser to cancel the order in part or in full.

11)  OUR MATERIALS: materials, tools and other equipments supplied by the purchaser for 

Processing or to aid processing shall be accounted fully by the Vendor.  Necessary insurance shall be arranged by the Vendor for such materials at  his cost.  The supplier shall also submit the value equivalent to the materials supplied.

12) Within a period of 12 months from the date of completion of order the purchaser reserves the  right to place order with the same prices, terms & conditions on the supplier for an additional quantity up to 100% of the ordered quantity.

13) TEST CERTIFICATE/SHELF LIFE CERTIFICATE:  All certificates called for in the specification or order must be sent by registered post with the advise note.  The purchaser may test any goods supplied & its decision shall be final irrespective of the certificate furnished by the supplier.  Also supplier shall indicate the date of manufacture and the date of expiry for chemicals, ingredients  etc., in all the dispatch documents and on the containers.  In case of shelf life items the suppliers shall be within one month from the date of manufacture.

14)  DRAWINGS PATTERNS AND TOOLS:  All drawings, patterns and tools supplied by us, or made at our expenses or our property and or only to be used in the execution of our order and shall  be returned to BDL on demand.  Whenever required by BDL patterns and tools shall be insured.

15) DEMURRAGE AND WHARFAGE:  The supplier shall be responsible for all demurrage and Wharfage charges due to late receipt of dispatch documents or non-receipt of dispatch documents or non-receipt of  prior intimation or non-compliance of any other terms of P.O.

16) INDEMINITY: The vendor shall indemnify the purchaser.

a) Against any claim in respect of infringement of letters of patent or registered design by the   use of sale of any article or material supplied to us by the supplier and against all costs and   damages which we may incur in any action for such infringement or for which we may become liable in any such action.

b) Against all claims for injury or damages caused by the Negligence of the supplier or his employees or arising from any defects in the goods supplied or on the work carried out by the supplier.

            c) Against all claims for injury to the supplier’s employees or of his agent’s whilst on the premises of the purchaser.

17) APPROPRIATION: whenever under this P.O any sum of money is recoverable from & payable by the supplier, BDL shall be entitled to recover such sum by appropriating, in part or  whole by deducting any sum due or which any time thereafter any become due to the supplier in this or any other P.O should this sum be not sufficient to cover the full amount recoverable the supplier shall pay to BDL on demand the remaining balance due.

18) GUARANTEE:  Any material/equipment supplied should be free from any defects arising from faulty material, design or workmanship & should be guaranteed for quality/satisfactory performance for a period of 12 calendar months from the date of commissioning or 18 months from the date of supply which ever is earlier.  During the guarantee period, if any defects develop arising from faulty material, design or workmanship,  the supplier should replace any defective portion of the goods or replace the material/equipment as a whole.

19) ARBITRATION:  All disputes regarding this P.O shall be referred to our Chairman and Managing Director/his nominee for arbitration who shall have all the powers conferred by the Arbitration Act, 1940 in force. 

20) JURISDICTION:  The P.O shall be governed by the Laws of Indian Union in Force.  The   courts of Hyderabad, Andhra Pradesh only shall have jurisdiction to deal with and decide any legal matter or dispute whatsoever arising out of this P.O.

21) BRIBES AND GIFTS:  Any bribes, commission, gifts or advantage given, promised or offered by the supplier to any employee of BDL shall in addition to any criminal liability which the supplier may incur, subject the supplier to the cancellation of this & all other orders & also to payment of any loss or damage resulting from any such cancellation.  He shall also be deregistered and black listed.

22)  Incase of specific condition indicated in the P.O or in variance with the above general conditions, the condition indicated in the P.O shall be valid.

                                                         ANNEXURE ‘D’ 

GENERAL TERMS AND CONDITIONS OF THE PURCHASE ORDER (P.O) IMPORTS

1) ACKNOWLEDGEMENT: An acknowledgement of this purchase order should be sent to us by the supplier confirming their agreement regarding specifications, quantity prices, terms of payment & delivery schedule as indicated in our purchase order with 15 days of its receipt by the supplier.

2) PRICES:  Where the prices indicated are Ex-Your works, please indicate separately the packing & forwarding charges for FCA delivery to the nearest gateway Airport/FOB delivery to the nearest sea port.  All the consignments either by Sea/Air shall be dispatched on freight to pay basis only.

3) Our purchase order number must be correctly and completed on all documents and packages, so that we do not have difficulty in our customs clearance.  Kindly ensure that your computer takes care of this important aspect.  Only our name & address to be mentioned against consignees; No other name should be mentioned. 

4) SHIPPING CLAUSE: 

a) Shipments by Sea:  Shipping arrangements will be made by Secretary shipping Co-

ordination committee, Ministry of surface Transport, New Delhi (cable:

TRANSCHART: NEW DELHI, Telex: VAHAN IN:31-61 157/31-61158/31-61159,

Fax 3718814, 3352726, e-mail:no.asol@hub.nlc.in) through their respective Forwarding

Agents Nominees as mentioned below to whom adequate notice of not less than six

weeks about the readiness of cargo for shipment, should be given by the sellers from

time to time for finalizing arrangements Cargo has to be made available for shipment at

the port on the date specified by the forwarding agents /nominees & to whom prior

intimation of the details of the cargo has to be given viz.

      M/s. Panalpina World Transport,

      Panalpina Welttransport GmbH,

      Spaldingstr-64,

      D-20097, Hamburg,

      Ph:+49 40 23771 – 133

      Fax: +49 40 23771-342/344

b)

	1. Shipper 
	2. Consignee

a) M/s Bharat Dynamics Limited P.O. Kanchanbagh Hyderabad-500 058, A.P.

b) M/s Bharat Dynamics Limited, Bhanur-502 305, District Medak, A.P. 

	
	

	3. Order No.
	4. Description of material & Quantity

	5. Port of Loading
	6. Port of Discharge Mumbai Port India Or the port     named in the PO

	7. No. of Cases with gross weight, net weight & case measurements.
	Each case shall be marked with:

a) This order number

b) Consignee

c) Serial Number

d) Red & white brand Printing of 1" width each on each on all sides at the corners for easy identification at the port of discharge.


      c)  Dispatch by Air: In the case of FCA/FOB purchase orders, the consignment shall be handed over to our air cargo agent named in the P.O at the designated Airport.  If the terms of P.O are ex-your works, please inform, our air cargo agents named in the P.O. for arranging pick up of the cargo.  The air cargo agent will receive the cargo against house air way bill & arrange onward dispatch of the cargo to us.  The house airway bill may be presented to  your bankers for payment.  All the air consignments shall be dispatched to Hyderabad Airport, A.P. India only on freight to pay basis, either by Air India or any other free carrier airline. The case marking shall be as indicated at 4  (a) above

5) INSURANCE :  Insurance will be taken by us from the Sea/Airport of dispatch to our warehouse at our cost. Immediately on shipment, please send a communication to our insurance company mentioned in P.O with a copy to us be Fax/Telex/indicating the details of the items shipped, invoice number and date, value, dimensions and weight  of  the  packages, B/L, ship name or AWB & flight details.  A copy of this communication must also be submitted to your Bank, along with other document, at the time of claiming the value under the L.C.

6) PAYMENT:  letter of Credit or Sight Draft can be negotiated with our bankers by submitting

a) Merchandise invoice for FOB/FCA/Ex-Works Value – 3 copies.

b) Original copy of the negotiable Air Way Bill/House Air Way Bill/ House Air  Way Bill/Bill of Lading

c) Certificate of Country of Origin – 3 copies.

d) Packing sheet detailing measurement and weight of each case 4 copies.

e) Freight Note Issue by the forwarding agents indicating the net freight payable in India after allowing rebate.

f) Copy of the declaration letter/fax/telex addressed to our insurance company

   Your Bankers may be informed to air mail the documents to:

  Andhra Bank, BDL Campus Branch, Bhanur-502305, Andhra Pradesh, India.

             NOTE: Please note that in case the period of letter of credit to be extended due to delay 

  In shipping the material or for any other reason from your side, the Bank charges will be to your account & the same will be recovered from your bill.

7) DOCUMENTATION:

a) Please hand over to the carriers or Frt. Forwarders: All documents shall be signed by you. Two copies of each of the invoices, packing Notes.  Insurance declaration, Certificate of origin (if applicable) issued by an independent agency like chamber of commerce.

      b) Please send Direct to us to the      :  TWO COPIES OF ALL THE ABOVE                       

          Signatory to the P.O                          & COPIES OF THE AIRWAY BILL 


 BY COURRIER

    c) Through the Bank as per Payment:   Two copies of all the above and the

         original Terms                                   B/L/HAWB/AWB.                                                       

IMPORTANT: 
Please send us a Fax message giving dispatch details immediately after shipment

8) INSPECTION:

a) The material supplied will be inspected by our inspection dept. on their arrival in our factory.  The decision of our inspection dept. shall be final and binding on both the parties.

b) For any shortage or any short shipment the supplier shall arrange free replacement.  The packing freight insurance expenses shall be borne by the supplier.

c) In case of rejection/replacement/warrantee replacement the supplier shall arrange free replacement & the cost of freight insurance shall be borne by the supplier / Where the supplier wants the rejected/defective part or item to he sent back, the same will be arranged by BDL at its cost.

9) PACKING:  The cargo is to be packed securely to with stand transit hazards by road, Rail, Sea, Air so as to ensure their being free from loss or injury on arrival at their destination at Hyderabad.  In case of plant Machines and Equipment. The following publication in triplicate should be supplied:

a)  Foundation Plan                                f) Capacity diagram

b)  Wiring diagram                                 g) Erection instructions

c)  Operational Manual                           h) Makers certificate of accuracy &

d)  Maintenance Manual                             guarantee of performance

e)  Detailed spare parts                           i) Illustrated & descriptive catalogue

     Catalogue                                            j) Warranty Certificate

10) The supplier shall also reimburse to BDL any extra amount of Wharf age incurred by BDL due to delay in clearance of the consignment owing to wrong/obliterate markings of cases / delay in receipt of dispatch documents.

11) GUARANTEE:  The equipment/stores should be guaranteed for satisfactory performance for a period of 18 months from the date of shipment or 12 months form the date of commissioning, which ever is later.  The guarantee also should cover any defects that may develop from faulty materials; design or workmanship and you should remedy such defects/replace free of any cost to us if such defects occur during the guarantee period.

      12. EXPORT LICENCE: The necessary export license for the items shall be arranged by you.  

            In case any certificates, declarations etc. are needed from us, you should send us well in 

             advance, all such requests, along with necessary prescribed forms, drafts, etc.,

     13. ARBITRATION: All the disputes regarding this order shall be referred to our Chairman & 

           Managing Director or his nominee, who shall have the powers conferred by the Arbitration 

           Act, 1940 for the time being the force.

    14. JURISDICTION: The order shall be governed by the laws of the India union, in force. Only  

          the competent courts in Hyderabad, India shall have the jurisdiction as provided in the 

          arbitration Act, 1940 or any statutory modifications thereof for the time being in force , for 

          any matter arising out of the arbitration proceedings under the order.

   15. GENERAL REFERENCE: 

a. The order No. & date must be quoted by the supplier in all correspondence Acknowledgement of order . packing notes & invoices etc. all correspondence should be addressed only to Bharat Dynamics Limited, Kanchanbagh-500 038 (A.P.) INDIA.

b. The description of goods as given in the purchase order should be reproduced as it is in your invoice to facilitate clearance of goods through the Indian customs.

c. The bill of lading / Air Way Bill/ House Air Way Bill should be marked as “TO ORDER’” OR “ ORDER OF SHIPPER”, The consignee should be shown as BHARAT DYNAMICS LIMITED, Kanchanbagh-500 038”.

d. THE airway Bill/House Airway Bill/Bill of lading should indicate only broad category of the stores such ordered such as machinery, Spares, Equipment etc., & not the full & detailed nomenclature of the stores ordered.

e. Air way bill number, flight Number/ Bill of lading number may please be furnished by Fax/Telex immediately after the consignment is dispatched.

16. CONSEQUENCE OF BREACH & RECOVERY OF L.D.: The time of delivery is the  

      essence contract. Supply should be completed within stipulated delivery period. In the 

      event the supplier fails to deliver the goods, within the stipulated period, BDL reserves the 

      right to recover from the contractor, as agreed liquidated damages & not by way of penalty, 

      a some of 0.5% of the price only of the stores (excluding duties, taxes packing & 

      forwarding charges) which the contractor has failed to deliver as aforesaid for each week or 

     part thereof subject to a maximum of 10% during which the contractor has failed to deliver 

     as aforesaid for each week or part thereof subject to a maximum of 10% during which the 

     delivery of such stores may be in arrears.

17. CANCELLATION OF CONTRACT: Non compliance with any of the conditions may compel the purchase to cancel the order in part or in full without prejudice to the purchaser’s other rights & remedies under the law & the contract.

18. TEST CERTIFICATE /SHELF LIFE CERTIFICATE: all certificates called for in the 

             specifications or order must be sent with advice note. The purchase may test any goods 

             supplier & its decision shall be final irrespective of the certificate furnished by the supplier 

             . also supplier shall indicate the date of manufacture & the date of expiry for chemicals, 

             ingredients etc. in all the dispatch documents & on the containers.

PAGE  
1

