TENDER

For

PROCUREMENT OF ECOLOGICAL MONITORING EQUIPMENT FOR SHIMLA

Tender Number: 91129077

Date: 13th May 2019

(Single Envelop Bid System)

| Particulars | Description |
| --- | --- |
| Purpose of Tender | To select an experienced company to Supply Ecological Monitoring Equipment for Shimla. |
| Tender reference number | 91129077 |
| Date of tender announcement | 13th May 2019 |
| Last date to submit pre-bid queries by the interested bidders | 15th May 2019 |
| Last date to provide clarification to the queries. All the queries will be answered in the form of (Frequently asked question) FAQ and will be uploaded on the website www.tendernews.com | 17th May 2019 |
| Last Date and time for submission of bids | Thursday the 23rd May 2019 on or before 17:30 hrs |
| Mode of Submission | Technical and Financial bids to be submitted in sealed envelope as per the given instructions. |
| Validity of Bids/ Offered Price | 60 days from the last date of submission of bids 23rd May 2019. The selected supplier shall not be able to vary from their financial bid until the completion of the Order, if awarded by GIZ. |
| Address for Bid Submission | Procurement Department GIZ Office, 46, Paschimi Marg Vasant Vihar, New Delhi - 110 057 |
| Location of Site | Matsubara Building, Village Sargheen (Near HFRI), Shimla – 171009, India |

INQUIRY TO SUPPLY ECOLOGICAL MONITORING EQUIPMENT FOR GIZ HP – FORESTRY PROJECT LOCATED AT SHIMLA.

REQUIREMENT:

- GPS RECEIVER – 04 UNITS

- DIAMETER TAPE FOR MEASURING TREE – 04 UNITS

- CALLIPER – 04 UNITS

- COMPASS/BOUSSOL – 08 UNITS

- CLINOMETER – 04 UNITS

- RANGING POLES – 12 UNITS

- DENDROMETER INCLUDING TRANSPONDER + CIRCULAR REFLECTOR – 02 UNITS

- Please refer attached Annexure – A for detailed specifications of the material required and kindly submit the price proposal as per the given format.

- Please avoid writing YES / NO / AGREED, instead fill the details as per the product data sheet.

- Please submit your stamped and signed proposal in a sealed envelope only. Proposal received through email/fax will be summarily rejected.

- The price quoted should be valid for 30 days from the date of bid submission.

- Last date to submit your proposal is the 23rd May 2019 (Thursday) on or before 5.30 PM

- Kindly submit your proposal in a sealed envelope with heading “TENDER FOR ECOLOGICAL EQUIPMENT - 91129077” And send it to the address given below:

Head of Contracts & Procurement

#46, GIZ Office

Paschimi Marg, Vasant Vihar

New Delhi - 110057

- In case of any query, please write to us on proc-ind@giz.de latest by 15th May 2019.

- Please quote our Tender Inquiry Number 91129077 in all your correspondence.

- Incomplete offers shall be summarily rejected.

- GIZ reserves the right to cancel / withdraw the inquiry at any point of time, without giving any reason thereof.

- The bidder may use a separate sheet, preferably company’s letter head for writing down extra information, deviation or your terms and conditions, if any.

- Payment Terms: 30% advance shall be paid after signing the purchase order and balance after complete delivery, testing, invoice submission along with the delivery challan and confirmation of services by the project.

- Address for Material Delivery:

Matsubara Building, Village Sargheen (Near HFRI)

Shimla – 171009, India

- If no mention is made regarding GST, Delivery Charges, or Any other charges in the financial bid, it will be presumed that the quoted rate is inclusive of taxes.

TENDER NUMBER – 91129077 : ANNEXURE - A

| Sl. No. | Item Description | Description & minimum requirements (features) | Quantity Required | Price Per Unit | Total (Per Unit x Qty, required) |
| --- | --- | --- | --- | --- | --- |
| 1 | GPS Receiver | - Sunlight-readable colour screen - High-sensitivity GPS and GLONASS receiver with quad helix antenna - Preloaded option with India Topo map - Also includes worlwide basemap with shaded relief - Barometric altimeter and 3-axis compass - Outdoor optimised dual battery system - Wireless connectivity - Comprehensive set of navigation features. Waypoints, tracks and routes to navigate off the beaten track and TracBack function. - Camera function | 04 |  |  |
| 2 | Compass/ Boussol | - Fast globally balanced needle with jewel bearing - 20-30 degrees tilt margin for easier readings - Adjustable declination correction - Liquid filled capsule for stable operation - Mirror for sighting bearings and signaling - Sighting hole and notch for accurate bearings - Clinometer - Luminescent markings for working in low light - Metric UTM scales and inch ruler - Baseplate with magnifying lens - Detachable snap-lock lanyard with wristlock. Easy to detach for working with the map | 08 |  |  |
| 3 | Clinometer | - Accuracy 1/4° - Graduation interval 0.5° - Scale: slope ±90°, slope % - Adjustable diopter - Dual saphire bearing - Liquid filled capsule for stable operation - Anodized light-alloy housing - Nylon pouch with belt-loop - Lanyard | 04 |  |  |
| 4 | Dendrometer including transponder + circular reflector | - Ultrasound distance measuring - Tree height, angle and plot radius measurement - Must work in dense vegetation - Low battery consumption - Basal Area Factor function - Bluetooth® / IR transmitter - Delivered with a lanyard and in an aluminum safety and transport case. | 02 |  |  |
| 5 | Calliper | - Electronic caliper with a 7mm high display for measurement of inside, outside and depth - Measurement range 0-150mm/0 to 6in - Resolution 0.01mm/0.0005in - Instrumental error ±0.02mm/0.001in. - Storage temp. -10 to +60°C - Operating temp. 0 to +40°C | 04 |  |  |
| 6 | Diameter Tape for measuring tree | - Steel 5m diameter tape | 04 |  |  |
| 7 | Ranging poles | - Indian make | 12 |  |  |

| Delivery Charges for complete quantity | INR………………… |
| --- | --- |
| Applicable GST rate on Delivery Charges (if any) | ………………………. |
| Any Other Charges (if any), please specify………………………………………….. | INR………………….. |
| Please clearly mention applicable GST rate | ………………………… |
| Delivery Period | …………………………. |
| Price Validity | ………………………… |

Supplier Name, Stamp

Date: